## A-I
ANNEXURE-I
SCHEDULE OF MANDATORY SPARES FOR TURBINE ETC.
Sl.No | Items | Quantity
A. | TURBINE
1 | Wearing rings (stationary) if any | 1 set
2 | Wearing rings (moving) of any | 1 set
3 | Shaft seal packings | 2 sets
4 | Guide vane stem packings | 1 set
5 | Shear pins/friction clutch components | ½ set
6 | Guide vanes | 4 Nos
7 | Shaft sleeves | 1 set
8 | Piston rings for servomotor cylinder | 2 sets
9 | Packings and sealings, all types and sizes | 2 sets
10 | Guide vane bearing bushes | 1 set
11 | Bushes/bearings for regulating mechanism | 1 set
B | GREASE LUBRICATING SYSTEM (if required)
1 | Grease feeders | 1 set
2 | Timer equipment | 2 sets
C | GOVERNING EQUIPMENT
(a) | Electronic governor
1 | PCBs | 1 set
2 | Electronic Cards | 2 sets each
(b) | Oil Pressure Vessel Sump Tank and Pumps
1 | Oil pump for pressure oil supply' | One
2 | Seals/packings (all types) | 1 set
3 | Twin filter for oil | One
4 | Solenoids/coils | 1 set
5 | Level relays | 1 set
6 | Pressure switches | 1 set
7 | Pump unloader | 1 set
8 | Safety releif valve | 1 set
D | INSTRUMENTS AND SAFETY DEVICES
1 | Resistance type temperature detectors | 2 Nos
2 | Level switches | 1 set
3 | Dial type thermometers | 1 set
4 | Coils/contacts/springs for auxiliary relays solenoids and switches, etc | 1 set'
E | MAIN INLET VALVE
1 | Main seal rings | 1 No
2 | Servomotor piston rings | 1 set
3 | Piston rings for hydraulic drive of by pass value | 1 set
4 | Pressure gauge | 1 No. each type
5 | O-rings, cup sealings | 1 complete set
F | HP COMPRESSED AIR SYSTEM EQUIPMENT
1 | Piston | 1 No.
2 | Piston rings | 1 set
3 | Cylindrical valves | 1 set
4 | Bearings | 2 Nos.
5 | Gudgeon pin | 1 No.
6 | Springs | 1 set
7 | Packing, sealing & gaskets, etc | 1 set

## A-II
ANNEXURE-II
SCHEDULE OF MANDATORY SPARES FOR GENERATORS ETC.
Sl.No | Item | Quantity
A) | GENERATOR
1 | Stator coils along with slot wedges | ½rd of complete set
2 | Pole assembled with windings | 2 Nos.
3 | Upper guide bearing pads | 1 Set
4 | Thrust bearing pads | 1 Set
5 | Pole keys | 10% Set
6 | Brushes for slip rings | 6 Sets
7 | Brush holder | 1 Set
8 | Brake shoes/pads | 2 Sets
9 | Air cooler units complete | 2 Nos. 2 of each type of opposite connections
10 | Oil cooler for bearings | 1 of each type
11 | RTD's for air circuits, bearings etc. | 20% of complete requirements
12 | Dial type thermometer for air circuit, bearings and bearing oil system | 20% of complete requirements
13 | Theromostat/smoke detectors for fire extinguisher | 2 of each type
14 | Gaskets for brake cylinders | 1 Set
15 | Gasket/washers for air cooler | 1 Set
16 | Coils, conatcts, springs etc. for relays, conatctors, breakers and auxiliary swutches | 1 Set of each
17 | Level switches/pressure switches, pressure gauges | 1 of each type
* Set means all the items for one generating unit
B) | EXCITATION AND REGULATION EQUIPMENT
1 | Power supply unit | 1
2 | Converting, measuring and supervision units for slip stablisation | 1 each
3 | Rotor angle limiter | 1
4 | Pulse comparison unit | 1
5 | Rotor current limiter | 1
6 | Automatic voltage adjuster | 1
7 | Motor driven potentiometer | 1
8 | Feedback module | 1
9 | Grid control unit | 1
10 | Pulse amplifier | 1
11 | Pulse supervision unit | 1
12 | Voltage supervision unit | 1
13 | Stator current limiter | 1
14 | Over current relay for rectifier | 1 Set
15 | D.C/A.C Convertor | 1
16 | Network Filter | 1
17 | Pulse transformer | 1
18 | Pulse final stage | 1
19 | Excitation transformer | 1
20 | Fuses | 1
21 | Blown fuse detectors | 1 Set
22 | Thyristor elements | 1 Set
23 | Field flashing rectifier | 3
24 | Blocking dioded for field | 2
25 | Field breaker spares
| -Closing coil | 1
| -Tripping coil | 1
| -Fixed contracts for main poles | 1
| -Moving contacts for main pole | 1
| -Arc chute for main pole | 1
| -Braid | 1
| -Auxuliary conatct blocks | 2
The generator tenderer may quote separately for any additional spares that he may consider necessary. (Note : Those spares will not be considered for tender evaluation)
(Note: The spares will not be considered for tender evaluation)

## A-III
ANNEXURE-III
SCHEDULE MANDATORY FOR DEWATERING & STATION DRAINAGE SYSTEM
Sl.No | Items | Quantity
A) | DEWATERING SYSTEM
1 | Pump impellers | 1 Set
2 | Pump bearing | 1 Set
3 | Pump sunction sealing rings | 1 Set
4 | Pump motor, bearing | 1 Set
5 | Instruments (Level electrodes pressure gauge | 1 No. of each type
6 | Strainer | 1 No.
7 | Stuffing Box | 1 No.
B) | STATION DRAINAGE SYSTEM
1 | Pump impellers | 1 Set
2 | Pump bearing | 1 Set
3 | Pump sunction sealing rings | 1 Set
4 | Pump motor, bearing | 1 Set
5 | Instruments (Level electrodes pressure gauge | 1 No. of each type
6 | Strainer | 1 No.
7 | Stuffing Box | 1 No.
Set- means quantity required by one unit

## A-IV
ANNEXURE-IV
SCHEDULE OF MANDATORY SPARES FOR EOT CRANE
Sl.No | Items | Quantity
1 | Bearings for:-
| i) Truck wheels | 4 Nos.
| ii) Trolley wheels | 2 Nos.
| iii) Long travel Motor | 4 Sets
| iv) Cross Traverse Motor | 2 Sets
| v) Main hoist Motor | 2 Sets
| vi) Auxiliary Hoist Motor | 2 Sets
| vii) Creep speed motor for main & auxiliary hoist, cross travel & long travel | 2 Sets each
| viii) Rope drums | 1 Set
| ix) Pulleys for main hoist | 1 Set
| x) Pulleys for auxiliary hoist | 1 Set
2 | Brake coil for E.M. Brakes for:
| i) Long Travel Motion | 1 Set
| ii) Cross Traverse Motion | 1 Set
| iii) Main Hoist | 1 Set
| iv) Auxiliary Hoist | 1 Set
3 | Brake lining with rivets for Electro Magnetic brake for:
| i) Long Travel Motion | 2 Sets
| ii) Cross Traverse Motion | 2 Sets
| iii) Main Hoist | 2 Sets
| iv) Auxiliary Hoist | 2 Sets
4 | Brake spring for electromagnetic brake for:
| i) Main Hoist | 1 Set
| ii) Auxiliary Hoist | 1 Set
| iii) Cross Traverse | 1 Set
| iv) Long Travel | 1 Set
5 | Brake lining with rivets for thrustor operated brakes for:
| i) Main Hoist | 2 Sets
| ii) Auxiliary Hoist | 2 Sets
6 | Brake lining with rivets for foot operated hydraulic brake for:
| i) Long Travel Motion | 2 Sets

## A-V
ANNEXURE-V
SCHEDULE OF MANDATORY SPARES FOR POWER TRANSFORMER AND OTHER TRANSFORMERS
Sl.No | Items | Quantity
i) | Gaskets for all openings on transformer tank gaskets | 2 Sets
ii) | Oil and winding temperature indicator | 1 Set
iii) | Magnetic oil level gauge | 1 No
iv) | Pressure releif device | 1 Set
v) | Silica gel | 20 Kgs.
vi) | LV Bushing (Complete set) | 1 Set
vii) | HV Bushing (Complete set) | 1 Set
viii) | Neutral Bushing (Complete set) | 1 Set

## A-VI
ANNEXURE-VI
SCHEDULE OF MANDATORY SPARES PARTS & SPECIAL TOOLS AND PLANTS FOR UNIT AND STATION CONTROL SYSTEM
Sl.No | Item | Quantity
1) | Process computer (including computers interfaces etc. technical specifications as given for unit computers) | One No. CPU
2) | DC/DC Converter | One of each type
3) | AC/DC Converter | One of each type
4) | Indicating instruments | One of each type
5) | Control switches, selectors, push buttons, indicating lamps, position indicators | Two of each type
6) | Bulbs for indicating lamps | 20% of each type
7) | Heating resistors for thermostat for cubicle heater | one
8) | Operator key board | one
9) | Printer | one
10) | Trackball | one
11) | Complete power supply unit | one
12) | Digital clock for indicating the yaer, month, day, hour, minutes, second | one
13) | Relays protective and auxiliary relay | One (1) of each kind
14) | Transducers | One (1) of each kind
15) | Plug-in-type connection accessories | One(1) pair of each kind
16) | Interface module | 5 pcs
17) | Miscellaneous (cables, plugs, etc.) | 1 Set
18) | Digital/analog input/output cards | As per requirement
19) | Electronics rack fan unit | 2 pcs
20) | Field bus interface board | As per requirement
21) | MCB of each type | 3 pcs
22) | Fuses of each type | 10 pcs
23) | Spares for synchronising system | As per requirement
24) | Terminals of each type | 100 pcs
Note:- All other spares necessary to replace defective parts during the 5 (five) year period will be provided free of cost Defective parts shall be returned to the supplier

## A-VII
ANNEXURE-VII
SCHEDULE OF MANDATORY SPARE PARTS FOR OIL PURIFICATION SYSTEM
Sl.No | Item | Quantity
Mandatory spare parts:
1 | Shaft Seals | 1 set of each type
2 | Valve | 1 no. of each type
3 | Measuring Equipment | 1 set of each type
4 | Transfer oil pump | 1 set
5 | Vacuum Pump | 1 set
6 | Heating Element | 1 no. of each type
7 | Filter Element | 5 no. of each type
8 | Sight Glass | 1 no. of each type