GOVERNMENT OF MIZORAM

POWER & ELECTRICITY DEPARTMENT

OFFICE OF THE SUPERINTENDING ENGINEER : PROJECT CIRCLE – II

NEW SECRETARIAT COMPLEX, AIZAWL.

NIT No. 1 of 2018-2019

Dated Aizawl, the 22nd June, 2018

No.T.19011/6/2016-SE(P-II)/92  :The Superintending Engineer, Project Circle-II, Power & Electricity Department, Govt. of Mizoram, on behalf of the Governor of Mizoram, invites sealed tenders from reputed contractors/firms/manufactures or their authorised dealers affixing non-refundable court fee stamp worth ` 8.25 (Rupees eight and twenty five paise) only in case of non-tribal tenderers and valid HTPC in case of tribal tenderers for ‘Design, Supply, Installation and Commissioning of CWCP panel at Serlui ‘B’ SHP’ whose specification in stated below. Details may be had from the office of the undersigned on any working day from the date of issue of this notice till  20th July 2018 on payment of Rs. 500/- (non-refundable) for non-tribal and half of the amount for tribal tenderers in the form of Demand Draft in favour of “Superintending Engineer, Project Circle-II, Power & Electricity Department, Aizawl, Mizoram”. Tender bids will be received upto 13:00 hours on 23.07.2018 and will be opened at 14:00 hrs on the same date.

| Sl.No. | Name of work | UNIT | QNTY. |
| --- | --- | --- | --- |
|  | Design, Supply, Installation and Commissioning of CWCP panel at Serlui ‘B’ SHP having the following specification | 1 | 1 |
|  | Incoming |  |  |
| 1 | 400 TP TM 25 KA MCCB + SPDR + ROH | Nos. | 1.0 |
| 2 | ANALOG AMMETER+ASS | Nos. | 1.0 |
| 3 | ANALOG VOLTMETER+VSS | Nos. | 1.0 |
| 4 | CONTROL TRAFO : 415/240V 1 PH 300VA | Nos. | 4.0 |
| 5 | CURRENT TRANSFORMER, 400/1A, CL-1, 10VA | Nos. | 3.0 |
| 6 | INDICATING LAMP R Y B | Nos. | 3.0 |
| 7 | CONTROLLING FUSE | Nos. | 3.0 |
| 8 | CT SHORTING TERMINALS | Nos. | 7.0 |
| 9 | PANEL ILLUMINATION & SPACE HEATER CIRCUIT | Nos. | 1.0 |
|  | Outgoing |  |  |
|  | 45 KW DOL STARTER = 4 NOS |  |  |
| 1 | 125A TP MCCB + SPDR + TRIP CNTC | Nos. | 4.0 |
| 2 | ANALOG AMMETER | Nos. | 4.0 |
| 3 | CURRENT TRANSFORMER, 100/1A, CL-1, 10VA | Nos. | 4.0 |
| 4 | OVERLOAD RELAY 75 – 110 | Nos. | 4.0 |
| 5 | 95A, 3P, Power Cotactor AC =3 + (4NO+4NC) | Nos. | 4.0 |
| 6 | A/M SELECTOR SWITCH | Nos. | 4.0 |
| 7 | START/STOP PUSH BUTTON | Nos. | 8.0 |
| 8 | CT TERMINALS | Nos. | 28.0 |
| 9 | INDICATING LAMP ON/TRIP | Nos. | 8.0 |
| 10 | MECHANICAL LATCH & ELECTRICAL RESET RELAY | Nos. | 4.0 |
| 11 | 20/44 CONTROLLING FUSE | Nos. | 8.0 |
| BUS BAR - ALLUMINIUM |  |  |  |

Sd/-

( N. RANJIT SINGH )

Superintending Engineer,

Project Circle-II.

Memo No.T.19011/6/2016-SE(P-II)/92			         Dated Aizawl, the 22nd June,   2018

Copy to:-

- The P.S to Hon’ble Minister, Power & Electricity Department, Govt. of Mizoram

for favour of information.

- The Secretary to the Govt. of Mizoram, Power & Electricity Department, Aizawl for favour of information.

- The Engineer-in-Chief, Power & Electricity Department, Aizawl for favour of information.

- The Director, I & PR, Government of Mizoram, with a request to arrange publication of the above Tender Notice as follows. The Tender Notice may please be published in 1 (one) issue of any 2 (two) Local News paper. Bill in triplicate enclosing copy of the advertisement tear sheet may be submitted to the undersigned for making payment.

- The Principal Informatics Officer, Department of Information Communication Technology, Govt. of Mizoram with a soft copy of the NIT with a request to post in the official website.

- All the Chief Engineers, Power & Electricity Department for favour of information.

- All the Superintending Engineers, Power & Electricity Department for favour of information.

- All the Executive Engineers, Power & Electricity Department for information.

- Office Notice Board.

Superintending Engineer,

Project Circle-II.

GOVERNMENT OF MIZORAM

POWER & ELECTRICITY DEPARTMENT

OFFICE OF THE SUPERINTENDING ENGINEER : PROJECT CIRCLE – II

NEW SECRETARIAT COMPLEX, AIZAWL.

Fax No.: 0389-2336874

Phone No.: 0389-2336874

Dated Aizawl, the 5th October, 2017

No.T.19011/6/2016-SE(P-II)/77       : The Superintending Engineer, Project Circle-II, Power & Electricity Department on behalf of the Governor of Mizoram invites sealed tenders from contractors/firms/manufactures or their agents registered with Central/State/Public Sector undertaking for the work indicated below:

“Design, Manufacturing, Supply, Transportation, Fabrication, Welding, Laying, Testing, Erection & Commissioning of Hydro Mechanical equipments at Kawlbem SHP”.

Tender Amount: ` 24,82,500/-

EMD: ` 49,700/-

Cost of Bid Documents: ` 500/-

Issue of Bid documents: From 5.10.2017 to  10.11.2017 during all working hours.

For detailed NIT please visit Mizoram Official website www.tender.mizoram.gov.in or office of the undersigned in the above address.

( N. RANJIT SINGH )

Superintendign Engineer

Project Circle-II